## Slide 1
Field | Central heating
Chapter | Electricity and electrical connections
Subtitle | Room thermostats, electrical diagrams, control systems

## Slide 2: Room thermostats
Classification according to connection

## Slide 3
Two – wire connection,

## Slide 4
Two – wire connection

## Slide 5
TREE – wire connection

## Slide 6: Room thermostats
Classification according to tYPES

## Slide 7
Analog thermostat

## Slide 8
Digital thermostat

## Slide 9
Analog clock thermostat

## Slide 10
Digital clock thermostat

## Slide 11
Electrical diagram oil boiler :
Room thermostat or boiler thermostat is placed add t1

## Slide 12
Si : fuse
W : boiler thermostat
R : room thermostat
SB : security thermostat boiler
M : motor
Z : ignition
BV1 : electromagnet valve
QRB : infra-red photocell
Electrical diagram burner relay oil burner

## Slide 13
1 : thermal kickback protection (PTC )
3 : temperature sensor input central heating ( NTC )
5 : temperature sensor output central heating ( NTC )
6 : Ionization electrode
7 : ignition electrode
15 : control panel
Electrical compounds gas boiler